## Slide 1: Validation of modeling smart energy management systems in reduced order models with building simulation models
Philipp Mascherbauer, Daniel Heidenthaler, Lukas Kranzl
16.02.2023

## Slide 2
Contents
Background
Model
Method
Buildings
Results
Conclusion + Outlook

## Slide 3
newTRENDs: New Trends in Energy Demand Modelling
  How much electricity load can the current building stock shift?
  How do societal trends impact the overall electricity consumption?
Model:
  Using the day-ahead price to incentivize buildings with heat pumps to shift load
  Minimizes the energy costs based on the day-ahead price
  Calculates the hourly heating and cooling demand for representative buildings in the building stock.
  Thermal mass of the building is used as storage.
Use 5R1C approach to represent buildings to reduce complexity
Will an economic optimization of a building with a reduced order model also result in lower costs in a dynamic building simulation?
Background
This project has received funding from the European Union's Horizon 2020 research and innovation programme under grant agreement no. 893311.
Notes: Societal Trends include work from home, but also increase in PV panels, or heat pump uptake in the future.

## Slide 4
Hourly heating demand is calculated with a 5R1C approach
(DIN ISO 13790)
Input:
  Building parameters
  Indoor temperature bandwidth
  Heating system
  Hot water demand
  Weather data
  Electric load
  Electricity price
Output:
  Load profiles
  Operation costs
  Indoor temperature
5R1C Model
Conclusion
Results
Method
Model
Objective

## Slide 5
5R1C model:
Method
9 Buildings
Optimization
Indoor temperature profile
Indoor set temperature
Heat demand + Costs
Heat demand + Costs
comparison

## Slide 6
Price 1: spot market price 2019 [1] + 20 cents/kWh
Price 2, 3: Scenario prices from Balmorel [2] with CO2 price:
  Price 2: 53 €/tCO2
  Price 4: 212 €/tCO2
Electricity price

## Slide 7
Buildings
Chart: kJ/Km2
| EZFH_1_B | EZFH_1_S | EZFH_5_B | EZFH_5_S | EZFH_9_B | MFH_1_B | MFH_1_S | MFH_5_B | MFH_5_S
specific thermal mass | 3934.8224 | 3415.8536 | 2198.8801 | 1647.3014 | 1369.6077 | 3482.7821 | 3020.2473 | 1976.6922 | 1825.7985
Good insulation
Medium insulation
Bad insulation
Specific thermal mass
MFH
SFH

## Slide 8
Yearly heat demand
Heat distribution system has no losses
Notes: Heating demand is slightly overestimated, better when comparing with floor heating (losses etc.)

## Slide 9
Hourly heat demand due to smart energy management
EZFH_5_B
Notes: Dadurch dass das die Innenraumtemperatur vorgegeben wird, muss das Haus mit Bodene´heizung viel mehr Energie in einer Stunde auf bringen wenn vorgeheizt wird. Dafür sinkt der Energieverbrauch in den folgenden Stunden umso stärker (was mit dem 5R1C nicht abgebildet wird).

## Slide 10
Hourly heat demand due to smart energy management

## Slide 11
Relative change in heating cost due to optimization
Through floor heating much more demand can be shifted than calculated by the 5R1C model
As a result cost reduction calculation is less accurate

## Slide 12
The 5R1C model estimates the heating demand well for bad insulated buildings
Heating demand for light weight and well insulated buildings is underestimated by the 5R1C model
The 5R1C approach underestimates the inertia of the floor heating system and thus the costs of introducing smart energy management systems
This is most relevant for light weight buildings with low specific energy demand
Outlook:
  Update the model to better estimate the high inertia of floor heating systems
  Include cooling
Conclusion + Outlook

## Slide 13: Thank you for your attention!
Philipp Mascherbauer
mascherbauer@eeg.tuwien.ac.at